SAFETY AUDIT

Date:                                    /        	Shift:

Area: Bagging Area			FLS:                                                  	Area Supervisor:  ____________________

| Items to Inspect | Satisfactory | Comments | If No, then . . . |
| --- | --- | --- | --- |
|  | Yes | No |  | Work Order # | Date Completed |
| A. ALL FOUR HANGING ELECTRICAL CORDS AND ANY EXTENSION CORDS |
| 1. Should be in good condition. No frays, cuts or knots. |  |  |  |  |  |
| 2. No excess cords hanging or on floor causing tripping hazards. |  |  |  |  |  |
| B. FIRE EXTINGUISHERS |
| 1. Fire extinguishers located between doors #22 & #23 and NW corner of bathroom. (2 total) |  |  |  |  |  |
| 2. Must be accessible. |  |  |  |  |  |
| 3. Locating signs and guides are visible. |  |  |  |  |  |
| 4. Maintenance checks every two months. |  |  |  |  |  |
| C. STOCK AND MATERIAL ARRANGED IN ORDERLY MANNER NOT BLOCKING ANYTHING OR CAUSING ANY TRIPPING HAZARDS. |  |  |  |  |  |
| D. AISLES FREE OF OBSTRUCTIONS - EMERGENCY EXIT BESIDE DOOR #22 IS CLEAR AND FREE OF ANY BLOCKAGE. IE: Snow, dirt, etc. |  |  |  |  |  |
| E. FLOORS ARE CLEAN AND DRY ELIMINATING TRIPPING AND SLIPPING HAZARDS. |  |  |  |  |  |
| F. NO LIGHTS ARE BURNT OUT. |  |  |  |  |  |
| G. ELECTRICAL PANEL BOXES ARE CLOSED AND ACCESSIBLE. MINIMUM 2 ½ FT AISLE WAY TO THEM. |  |  |  |  |  |
| H. ELECTRICAL OUTLETS (110 V) ARE IN GOOD CONDITION. |  |  |  |  |  |
| I. BREAKERS TO 600 VOLT PLUGS ARE SHUT OFF WHEN NOT IN USE AND PROTECTIVE COVERS IN PLACE. |  |  |  |  |  |
| J. ALL PERSONAL PROTECTIVE EQUIPMENT IS BEING WORN. |  |  |  |  |  |
| K. OTHER SAFETY CONCERNS. |  |  |  |  |  |

Any and all “No” must have corrective action taken immediately.